## Slide 1: Storage Area Labels
Relevant precautions:
Hazard type and relevant
Pictograms &
Precautions
Label Color Code (ChemAlert Fischer)
UMN Haz. Waste Codes
Label Color Code (ChemAlert Fischer)
DDC ##xx
Picto-gram
Hazard
Notes: Closed containers

## Slide 2: Storage Area Labels
Available formats:
Paper copy (print & tape to area)
Stickers
Magnets
Notes: Closed containers

## Slide 3: Acid Storage Area
Corrosive
Separate organic and inorganic
Wear gloves
Protect metals (cover with plastic)
Wipe off seal after each use before closing
White Label
DDC 02xx
FYI- Cap Color Codes:
Acetic Acid—Brown PhosphoricAcid—White HydrochloricAcid—Blue SulfuricAcid—Yellow NitricAcid—Red Ammonium Hydroxide—Green

## Slide 4: Base Storage Area
Corrosive
Wear gloves
Protect metals (cover with plastic)
Wipe off seal after each use before closing
White Label
DDC 01xx

## Slide 5: Oxidizer Storage Area
Oxidizing
keep away from combustible materials
Yellow Label
DDC 16xx

## Slide 6: Flammable Storage Area
Flammables
keep away from oxidizers and ignition sources
Red Label
DDC 08xx

## Slide 7: Reactive Storage Area
Reacts with Air, Water or Shock
Keep well sealed. Protect against moisture, & vibration.
Isolate from atmosphere by storing under inert gas (Nitrogen) or liquid (oil)
Yellow Label
DDC 04xx, 12xx

## Slide 8: Inhalation Hazard Storage Area
Toxic if inhaled
Keep well sealed
Blue Label
DDC ##PH

## Slide 9: Toxic (if swallowed) Storage Area
Do not swallow, touch or inhale
Wash hands after handling
Blue Label
DDC 18xx

## Slide 10: Low hazard Storage Area
Keep liquids below eye level
okay to sort alphabetically
Gray Label
Orange Label
Green Label
DDC 05xx, 06xx

## Slide 11: Radioactive Storage Area
Authorized Users Only!
leave shielding in place
DDC ##RA

## Slide 12: Biohazard Storage Area
Do not touch
materials must be inactivated before disposal

## Slide 13: Mercury or Heavy Metal Storage Area
Do not ingest
materials must be disposed as hazardous waste

## Slide 14: Carcinogen Storage Area
Do not swallow, touch or inhale
use appropriate gloves

## Slide 15: Reproductive Toxin Storage Area
Do not swallow, touch or inhale
use appropriate gloves

## Slide 16: Nanoparticle Storage Area
Do not swallow, touch or inhale
use appropriate gloves
Keep well sealed

## Slide 17: Flammable Acids Storage Area
Flammable & Corrosive
Keep away from oxidizers and ignition sources
Separate from Flammable Bases
DDC 08cc, 02LO

## Slide 18: Flammable Bases Storage Area
Flammable & Corrosive
Keep away from oxidizers and ignition sources
Separate from Flammable Acids
DDC 08cc, 01LO

## Slide 19: Time Sensitive Materials Storage Area
Peroxide Formers
AVOID metal caps, heat, light
Visually check for crystals
Test every 1, 3, 6 or 12 months
Dispose if > 80 ppm peroxides or > 2 yrs
DDC ##PF

## Slide 20: Temperature Sensitive Materials Storage Area
Must keep below ____
Store in secondary containers to segregate hazards & contain spills
If not working:
Contact_______________
Keep door closed & or
Relocate materials

## Slide 21: Light Sensitive Materials Storage Area
Keep dark
Store in sealed light blocking containment
If light block fails:
Contact_______________
Keep closed & or
Relocate materials

## Slide 22: Wet Storage Area
Keep moist
Do NOT allow to dehydrate
Store in overpack with wet towel to maintain humidity
Notes: Examples: picric acid

## Slide 23: Dry Storage Area
Keep dry
Protect from moisture
Store with desiccant to remove humidity

## Slide 24: Vacuum Storage Area
Risk of Projectiles
Do NOT heat, cool or attempt to open
Use plastic netting to control glass shards if implosion
Apply grease to seal before closing
Protect from impact

## Slide 25: Compressed Gas Storage Area
Pressurized materials
Do NOT heat, cool or attempt to open
Secure upright
Protect valve from impact
DDC ##CG

## Slide 26: Work Area Labels
Emergency Contacts
Shut down instructions
Hazards present
Unattended materials
Areas where the hazard is constant
Use for:
Include:
Notes: Purpose is to help emergency responders (non-chemists) know what needs to be done in an emergency

## Slide 27: Work Area Labels
Available formats:
Post-it notes
Stickers
Magnets
Window Decals
Suction cups w/Hang tags
Notes: Closed containers

## Slide 28: Hazards:
Acid
Base
Oxidizer
Flammable
Mercury or Heavy Metal
Reactive Air
Reactive Water
Reactive to Shock
Inhalation Hazard
Toxic
Low Hazard
Biohazard
Radioactive
_________
_________
_________
_________
Contact:___________________________
Emergency Shut Down:
________________________________________________________________________________________________________________________________________________________________________
Unattended Reaction(s)

## Slide 29: In Case of Emergency
Emergency Shut Down:
________________________________________________________________________________________________________________________________________
Contact:___________________________
Notes: Unplug____, Turn off _____ valve

## Slide 30: Sensitive Materials Avoid:
Acids
Air
Alcohols
Bases
Cold
Flammables
Halogens
Heat
Mercury or Heavy Metals
Oxidizers
Pressure
Shock
Water

## Slide 31: Unattended Hazards:
Acid
Base
Oxidizer
Flammable
Mercury or Heavy Metal
Reactive Air
Reactive Water
Reactive to Shock
Inhalation Hazard
Toxic
Low Hazard
Biohazard
Radioactive
_________
_________
_________
_________