| BUILDING __________________________________________________________ do not use an autoclave without proper training. Check seal gasket and clean out the drain basket before each use. autoclaves used to decontaminate Biohazardous waste must be tested monthly. Testing Records must be kept for 2 Years report problems promptly and schedule repair as needed | LOCATION OF AUTOCLAVE: |
| --- | --- |
|  | Autoclave Serial # |

| Date | Contents | Autoclave Cycle type | Start time | End time | Autoclave Chem Integrator/ Bio Indicator Name | Autoclave Chem Integrator/ Bio Indicator Serial # | Bio Indicator Positive Control serial # | Chemical Integrator Result | Bio Indicator result 3 hour | Bio Indicator result 24 hr. | Bio Indicator result 48 hr. | Positive Control Result for Bio indicator | Operator Initials | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |