Lab Hibernation Plan

Update door hazard signage with current lab hazards and emergency contacts. Identify primary and secondary contacts to monitor essential instruments, experiments, and processes during hibernation or emergency closure. Post a “Notice of Hibernation” to indicate contacts responsible for monitoring essential activities (if applicable). Shut down non-essential/non-critical experiments that need monitoring, are temperature or humidity sensitive, or could be affected by loss of electricity, water, or other services. Ensure that containers of chemicals, radioactive materials, and hazardous waste are labeled, closed, and placed in appropriate storage areas away from incompatible hazards. Labs using radioactive material must complete a routine contamination survey of your space and document it within IsoTrack. Once work has resumed, a post-hibernation survey must be complete. Then notify Radiation Safety, who will help reconcile your reports. Secure infectious material and toxins in appropriate storage units that are marked with a biohazard sticker or sign. Disinfect any potentially contaminated surfaces and properly dispose of biohazard waste. Review storage of biologicals and other perishable items. Place valuable items in storage units that have backup systems or store items in duplicate locations. Review safety and other issues for the use of alternate cooling methods (e.g. liquid nitrogen, dry ice, etc.). If animals are used in your research, consult with area vets and/or animal care area supervisors about contingency planning surrounding animal housing. If animals are housed in investigator managed housing (IMHA), have a contingency plan in place to care for them in the case of a planned or emergency hibernation. Ensure that all water sources are turned off (e.g. circulating water baths, aspirators, etc.). Ensure that gas tanks are secured, closed, and replace regulators with screw cap tops if possible. Turn off and unplug non-essential electrical devices particularly heat-generating equipment such as hot plates, stir plates, and ovens. If necessary, elevate equipment, supplies, electrical wires, and chemicals off of the floor to protect against flooding from broken pipes. Ensure that all refrigerator, freezer and incubator doors are tightly closed. Close sashes on chemical fume hoods. Turn off biological safety cabinets and UV lights. Back up data and turn off non-essential/non-critical computers. Store lab note books and computers in areas that will not be impacted by possible broken water pipes. Secure lap tops and other easy to remove electronic devices. Close all doors, including cabinets, storage areas and offices. Lock all exterior lab doors.

Contact University Health and Safety, 612-626-6002, with any laboratory safety concerns

NOTICE OF HIBERNATION

EMERGENCY EYE WASHES WILL NOT BE FLUSHED

This sign should be posted if the occupying lab is expecting to be gone for an extended amount of time and if monitoring is needed.

HIBERNATION DURATION Start Date: _________________________ Expected Return: ____________________

LAB MONITORS The following individuals have agreed to periodically monitor the lab in our absence 1) __________________________________ 2) __________________________________

CONTACT PERSONNEL IF ☐ Power or utility outage ☐ Security breach ☐ FIRE or suspected release ☐ _____________________

SECONDARY CONTACTS The following individuals are knowledgeable about our space and can be asked about hazards or if decisions need to be made when the primary lab contacts listed on the door signage are unreachable. 1) __________________________________ 2) __________________________________